## Slide 1: Excellence with Every Breath™
AirFlow ™ Resuscitation & Hyperinflation Training

## Slide 2
AirFlow Resuscitation Bags: Key Features, Adult
2
Pre-Attached Expiratory Filter
Protects clinician from 99.99% expelled B/V content
Red Fits-All O2 Connector
For easy visualization of proper connection
Integrated Manometer
Promotes proper pressure delivery
Sampling Port
End tidal monitoring
O2 Bag Reservoir
Closed system reservoirs delivers up to 99%
Patient Port Swivel
Allows clinician to easily position resuscitation bag
PVC Bag Body
Pliable, textured grip for secure handling

## Slide 3
AirFlow Resuscitation Bags: Key Features, Infant
Pre-Attached Expiratory Filter
Integrated Manometer
PVC Bag Body
Ergonomic bag shape
Pop-Off Valve
40 cm pop-off allows clinician to use an appropriate pop-off level

## Slide 4: AirFlow Accessories
Pre-attached expiratory filter protects clinician from up to 99.99% expelled bacterial/viral content
B/V Filter
Enhanced dial scale on manometer allows for more accurate readings
Manometer
Adjustable PEEP valves; 5-20 cm
PEEP Valve
For assessment of proper airway placement
CO2 Easy®

## Slide 5
Hyperinflation System: Key Features, NICU
Integrated Manometer
Promotes proper pressure delivery
Pop-Off Valve
Prevents excessive pressure from being applied to lungs
4 Sizes
0.5L,1L, 2L, 3L
Stay-Put Dial
Comes standard to enable clinician to achieve targeted static pressure

## Slide 6: Resources
AirFlow™ Resources
AirFlow™ Resuscitator Landing Page
AirFlow™ Training Video
AirFlow™ Literature Sheet
Hyperinflation Resources
Hyperinflation Landing Page
Hyperinflation Training Video
Hyperinflation Literature sheet
6

## Slide 7: Thank You
7
PPT-20022-C1 Rev1